## mybe_useful
upgrade(升級方案編號，0 =ROUND()ROUND(1,2) 現況基準，沒有加任何節能改造) | in.ashrae_iecc_climate_zone_2004(氣候區) | in.geometry_building_type_recs(建築類型這裡是 single-family attached) | timestamp(時間) | models_used( 這個彙整用了幾個模擬模型) | units_represented(這些模型代表幾戶真實住宅，換算每戶平均時要除以它) | 吊扇out.electricity.ceiling_fan.energy_consumption.kwh | 烘衣機out.electricity.clothes_dryer.energy_consumption.kwh | 洗衣機out.electricity.clothes_washer.energy_consumption.kwh | 冷氣的風扇、泵浦out.electricity.cooling_fans_pumps.energy_consumption.kwh | 冷氣out.electricity.cooling.energy_consumption.kwh | 洗碗機out.electricity.dishwasher.energy_consumption.kwh | 獨立冷凍櫃out.electricity.freezer.energy_consumption.kwh | 暖氣的風扇、泵浦out.electricity.heating_fans_pumps.energy_consumption.kwh | 熱泵的備援電熱out.electricity.heating_hp_bkup.energy_consumption.kwh | 電暖氣／熱泵暖氣out.electricity.heating.energy_consumption.kwh | 按摩浴缸的加熱器、泵浦out.electricity.hot_tub_heater.energy_consumption.kwh | 按摩浴缸的加熱器、泵浦out.electricity.hot_tub_pump.energy_consumption.kwh | 電熱水器out.electricity.hot_water.energy_consumption.kwh | 戶外照明out.electricity.lighting_exterior.energy_consumption.kwh | 車庫照明out.electricity.lighting_garage.energy_consumption.kwh | 室內照明out.electricity.lighting_interior.energy_consumption.kwh | 機械通風（新風系統）out.electricity.mech_vent.energy_consumption.kwh | 插座負載（電視、電腦、充電器、小家電等）out.electricity.plug_loads.energy_consumption.kwh | out.electricity.pool_heater.energy_consumption.kwh | out.electricity.pool_pump.energy_consumption.kwh | 太陽能out.electricity.pv.energy_consumption.kwh | 微波爐烤箱out.electricity.range_oven.energy_consumption.kwh | 冰箱out.electricity.refrigerator.energy_consumption.kwh | 井水泵out.electricity.well_pump.energy_consumption.kwh | out.electricity.net.energy_consumption.kwh | out.electricity.total.energy_consumption.kwh | 冰箱 | 熱水器 | 洗衣機 | 烘衣機 | 電磁爐 | 室內照明 | 插座負載 | 水泵
0 | 1A | Single-Family Attached | 2018-01-05 | 682 | 165133.3507 | 472.6397 | 300.9688 | 0 | 46.7313 | 630.267 | 69.9759 | 188.1358 | 448.9109 | 0 | 37792.777 | 29.7821 | 32.9298 | 5812.355 | 581.1144 | 0 | 1719.1302 | 77.2398 | 8447.2246 | 0 | 10.6538 | 0 | 227.1189 | 2120.0991 | 344.7946 | 0 | 59425.2459 | 0.82 | 0.61 | 0 | 0.06 | 0.05 | 0.12 | 0.61 | 0.75
0 | 1A | Single-Family Attached | 2018-01-05 00:15 | 682 | 165133.3507 | 420.3394 | 196.8525 | 0 | 72.8814 | 736.5625 | 49.6369 | 188.1358 | 442.3734 | 0 | 36827.1585 | 29.7821 | 32.9298 | 3848.4303 | 444.3104 | 0 | 1233.4154 | 73.3657 | 8283.7862 | 0 | 10.6538 | 0 | 288.6202 | 2107.7505 | 235.1092 | 0 | 55576.0892 | 0.81 | 0.4 | 0 | 0.04 | 0.06 | 0.09 | 0.6 | 0.51
0 | 1A | Single-Family Attached | 2018-01-05 00:30 | 682 | 165133.3507 | 413.5598 | 185.2302 | 0 | 56.4165 | 677.2404 | 21.0654 | 188.1358 | 459.5647 | 0 | 37839.2661 | 29.7821 | 32.9298 | 3693.4665 | 444.3104 | 0 | 1219.3718 | 73.3657 | 8246.0138 | 0 | 10.6538 | 0 | 236.562 | 2107.7505 | 235.1092 | 0 | 56216.0415 | 0.81 | 0.39 | 0 | 0.04 | 0.05 | 0.09 | 0.6 | 0.51
0 | 1A | Single-Family Attached | 2018-01-05 00:45 | 682 | 165133.3507 | 397.5791 | 185.2302 | 10.1695 | 61.9855 | 697.5794 | 0 | 188.1358 | 464.1652 | 0 | 38194.7145 | 29.7821 | 32.9298 | 2557.3878 | 444.3104 | 0 | 1164.8923 | 73.3657 | 8116.2315 | 0 | 10.6538 | 0 | 191.7678 | 2107.7505 | 235.1092 | 0 | 55210.2293 | 0.81 | 0.27 | 0.03 | 0.04 | 0.04 | 0.08 | 0.59 | 0.51
0 | 1A | Single-Family Attached | 2018-01-05 01:00 | 682 | 165133.3507 | 395.1578 | 185.2302 | 15.2543 | 56.9008 | 675.0613 | 0 | 188.1358 | 469.492 | 0 | 38738.5407 | 29.7821 | 32.9298 | 3215.4998 | 444.3104 | 0 | 1158.1126 | 73.3657 | 8100.0088 | 0 | 10.6538 | 0 | 191.7678 | 2107.7505 | 235.1092 | 0 | 56380.2063 | 0.81 | 0.34 | 0.05 | 0.04 | 0.04 | 0.08 | 0.59 | 0.51
0 | 1A | Single-Family Attached | 2018-01-05 01:15 | 682 | 165133.3507 | 379.9036 | 185.2302 | 15.2543 | 60.7749 | 686.4414 | 0 | 188.1358 | 460.5332 | 0 | 37881.8812 | 36.3197 | 39.7095 | 2384.022 | 422.5186 | 0 | 1060.776 | 49.3947 | 7977.0062 | 0 | 10.6538 | 0 | 140.436 | 2078.4526 | 122.034 | 0 | 54196.1846 | 0.8 | 0.25 | 0.05 | 0.04 | 0.03 | 0.08 | 0.58 | 0.27
0 | 1A | Single-Family Attached | 2018-01-05 01:30 | 682 | 165133.3507 | 376.998 | 37.046 | 3.1477 | 50.8475 | 644.7949 | 0 | 188.1358 | 477.9666 | 0 | 38768.8071 | 36.3197 | 39.7095 | 1999.76 | 422.5186 | 0 | 1055.4491 | 49.3947 | 7955.2144 | 0 | 10.6538 | 0 | 79.9032 | 2078.4526 | 122.034 | 0 | 54409.7441 | 0.8 | 0.21 | 0.01 | 0.01 | 0.02 | 0.08 | 0.58 | 0.27
0 | 1A | Single-Family Attached | 2018-01-05 01:45 | 682 | 165133.3507 | 374.8188 | 0 | 0 | 50.3633 | 643.8264 | 0 | 188.1358 | 484.5042 | 0 | 39463.7231 | 36.3197 | 39.7095 | 2415.7411 | 422.5186 | 0 | 1055.6912 | 49.3947 | 7943.8343 | 0 | 10.6538 | 0 | 0 | 2078.4526 | 122.034 | 0 | 55397.6387 | 0.8 | 0.25 | 0 | 0 | 0 | 0.08 | 0.58 | 0.27
0 | 1A | Single-Family Attached | 2018-01-05 02:00 | 682 | 165133.3507 | 373.1239 | 0 | 17.9177 | 45.5206 | 624.698 | 0 | 188.1358 | 495.8843 | 0 | 40239.2687 | 36.3197 | 39.7095 | 2353.9977 | 422.5186 | 0 | 1054.9648 | 49.3947 | 7931.2435 | 0 | 10.6538 | 0 | 0 | 2078.4526 | 122.034 | 0 | 56101.2714 | 0.8 | 0.25 | 0.06 | 0 | 0 | 0.08 | 0.58 | 0.27
0 | 1A | Single-Family Attached | 2018-01-05 02:15 | 682 | 165133.3507 | 367.3127 | 290.3151 | 2.9056 | 136.3198 | 979.4199 | 0 | 188.1358 | 500.4848 | 0 | 40181.6416 | 29.7821 | 32.9298 | 1604.118 | 422.5186 | 0 | 1028.3304 | 68.2809 | 7892.2604 | 0 | 10.6538 | 0 | 14.77 | 1948.4283 | 101.695 | 0 | 55887.4697 | 0.75 | 0.17 | 0.01 | 0.06 | 0 | 0.07 | 0.57 | 0.22
0 | 1A | Single-Family Attached | 2018-01-05 02:30 | 682 | 165133.3507 | 367.3127 | 388.136 | 0 | 80.3875 | 769.0081 | 202.1794 | 188.1358 | 515.2548 | 0 | 41099.076 | 29.7821 | 32.9298 | 1568.5247 | 422.5186 | 0 | 1028.3304 | 68.2809 | 7892.9868 | 0 | 10.6538 | 0 | 36.8039 | 1948.4283 | 101.695 | 0 | 56833.2334 | 0.75 | 0.16 | 0 | 0.08 | 0.01 | 0.07 | 0.57 | 0.22
0 | 1A | Single-Family Attached | 2018-01-05 02:45 | 682 | 165133.3507 | 367.0706 | 215.4966 | 0 | 98.5473 | 831.2358 | 216.7073 | 188.1358 | 531.4776 | 0 | 42091.8131 | 29.7821 | 32.9298 | 1979.9053 | 422.5186 | 0 | 1028.3304 | 68.2809 | 7889.839 | 0 | 10.6538 | 0 | 36.8039 | 1948.4283 | 101.695 | 0 | 58174.155 | 0.75 | 0.21 | 0 | 0.04 | 0.01 | 0.07 | 0.57 | 0.22
0 | 1A | Single-Family Attached | 2018-01-05 03:00 | 682 | 165133.3507 | 367.797 | 215.4966 | 0 | 89.1042 | 799.7587 | 43.3415 | 188.1358 | 548.1846 | 0 | 43117.7222 | 29.7821 | 32.9298 | 2168.2832 | 422.5186 | 0 | 1028.3304 | 68.2809 | 7887.4177 | 0 | 10.6538 | 0 | 160.775 | 1948.4283 | 101.695 | 0 | 59313.1393 | 0.75 | 0.23 | 0 | 0.04 | 0.04 | 0.07 | 0.57 | 0.22
0 | 1A | Single-Family Attached | 2018-01-05 03:15 | 682 | 165133.3507 | 366.1021 | 215.4966 | 6.2954 | 84.7459 | 1389.832 | 0 | 188.1358 | 562.9546 | 0 | 44696.9007 | 36.3197 | 39.7095 | 2446.7339 | 409.9278 | 0 | 1028.3304 | 75.5449 | 7865.8681 | 0 | 14.0436 | 0 | 229.7823 | 1910.6558 | 79.6611 | 0 | 61743.1661 | 0.74 | 0.26 | 0.02 | 0.04 | 0.05 | 0.07 | 0.57 | 0.17
0 | 1A | Single-Family Attached | 2018-01-05 03:30 | 682 | 165133.3507 | 365.86 | 333.1723 | 13.3172 | 69.2495 | 1328.815 | 0 | 188.1358 | 573.1241 | 0 | 45483.5843 | 36.3197 | 39.7095 | 2119.857 | 409.9278 | 0 | 1028.3304 | 75.5449 | 7868.7737 | 0 | 14.0436 | 0 | 108.7168 | 1910.6558 | 79.6611 | 0 | 62146.7985 | 0.74 | 0.22 | 0.05 | 0.07 | 0.02 | 0.07 | 0.57 | 0.17
0 | 1A | Single-Family Attached | 2018-01-05 03:45 | 682 | 165133.3507 | 367.3127 | 436.3201 | 13.3172 | 67.0703 | 1319.8562 | 0 | 188.1358 | 589.589 | 0 | 46671.7212 | 36.3197 | 39.7095 | 1423.7304 | 409.9278 | 0 | 1028.3304 | 75.5449 | 7877.2482 | 0 | 14.0436 | 0 | 62.9541 | 1910.6558 | 79.6611 | 0 | 62710.2374 | 0.74 | 0.15 | 0.05 | 0.09 | 0.01 | 0.07 | 0.57 | 0.17
0 | 1A | Single-Family Attached | 2018-01-05 04:00 | 682 | 165133.3507 | 367.0706 | 353.2691 | 5.3269 | 58.3536 | 1289.1055 | 0 | 188.1358 | 604.8433 | 0 | 47580.681 | 36.3197 | 39.7095 | 1942.6171 | 409.9278 | 0 | 1028.3304 | 75.5449 | 7882.5751 | 0 | 14.0436 | 0 | 101.4529 | 1910.6558 | 79.6611 | 0 | 64064.7183 | 0.74 | 0.2 | 0.02 | 0.07 | 0.02 | 0.07 | 0.57 | 0.17
0 | 1A | Single-Family Attached | 2018-01-05 04:15 | 682 | 165133.3507 | 372.1554 | 134.3827 | 13.8015 | 55.448 | 1268.0401 | 0 | 188.1358 | 649.1532 | 0 | 49855.744 | 58.5957 | 64.1647 | 1696.8541 | 390.3152 | 0 | 1034.8679 | 55.9323 | 7937.2967 | 0 | 28.3293 | 0 | 195.3997 | 1897.8229 | 83.2931 | 0 | 66017.9891 | 0.73 | 0.18 | 0.05 | 0.03 | 0.04 | 0.07 | 0.58 | 0.18
0 | 1A | Single-Family Attached | 2018-01-05 04:30 | 682 | 165133.3507 | 371.1868 | 134.3827 | 29.7821 | 43.3415 | 1231.7205 | 0 | 188.1358 | 657.1436 | 0 | 50552.355 | 58.5957 | 64.1647 | 2418.8888 | 390.3152 | 0 | 1034.3837 | 55.9323 | 7936.0861 | 0 | 28.3293 | 0 | 331.9616 | 1897.8229 | 83.2931 | 0 | 67550.4363 | 0.73 | 0.25 | 0.1 | 0.03 | 0.07 | 0.07 | 0.58 | 0.18
0 | 1A | Single-Family Attached | 2018-01-05 04:45 | 682 | 165133.3507 | 374.3345 | 276.5136 | 25.4238 | 41.8887 | 1221.3088 | 0 | 188.1358 | 684.9886 | 0 | 51858.1675 | 58.5957 | 64.1647 | 2084.9902 | 390.3152 | 0 | 1036.0786 | 55.9323 | 7954.2459 | 0 | 28.3293 | 0 | 607.0224 | 1897.8229 | 83.2931 | 0 | 68971.2611 | 0.73 | 0.22 | 0.09 | 0.05 | 0.14 | 0.07 | 0.58 | 0.18
0 | 1A | Single-Family Attached | 2018-01-05 05:00 | 682 | 165133.3507 | 373.366 | 489.5889 | 25.4238 | 36.0775 | 1203.8754 | 50.8475 | 188.1358 | 698.3058 | 0 | 52864.464 | 58.5957 | 64.1647 | 2453.5136 | 390.3152 | 0 | 1036.5629 | 55.9323 | 7959.8149 | 0 | 28.3293 | 0 | 790.7999 | 1897.8229 | 83.2931 | 0 | 70789.4229 | 0.73 | 0.26 | 0.09 | 0.1 | 0.18 | 0.07 | 0.58 | 0.18
0 | 1A | Single-Family Attached | 2018-01-05 05:15 | 682 | 165133.3507 | 392.2522 | 394.9157 | 0 | 37.2882 | 1219.6139 | 54.4795 | 188.1358 | 725.6666 | 0 | 54774.8777 | 84.5037 | 91.5255 | 2979.6642 | 409.9278 | 0 | 1251.5752 | 81.356 | 8096.8611 | 0 | 53.0267 | 0 | 889.8315 | 1897.8229 | 94.4311 | 0 | 73764.4866 | 0.73 | 0.31 | 0 | 0.08 | 0.2 | 0.09 | 0.59 | 0.21
0 | 1A | Single-Family Attached | 2018-01-05 05:30 | 682 | 165133.3507 | 393.2208 | 134.3827 | 17.4334 | 38.4988 | 1217.919 | 54.4795 | 188.1358 | 732.4463 | 0 | 55322.8202 | 84.5037 | 91.5255 | 3677.2437 | 409.9278 | 0 | 1246.9747 | 81.356 | 8095.8925 | 0 | 53.0267 | 0 | 1497.5803 | 1897.8229 | 94.4311 | 0 | 75378.7741 | 0.73 | 0.39 | 0.06 | 0.03 | 0.33 | 0.09 | 0.59 | 0.21
0 | 1A | Single-Family Attached | 2018-01-05 05:45 | 682 | 165133.3507 | 414.5283 | 619.129 | 103.8742 | 37.046 | 1216.4662 | 14.5279 | 188.1358 | 757.1437 | 0 | 56396.6712 | 84.5037 | 91.5255 | 5239.473 | 409.9278 | 0 | 1373.6092 | 81.356 | 8246.498 | 0 | 53.0267 | 0 | 1476.0307 | 1897.8229 | 94.4311 | 0 | 78843.911 | 0.73 | 0.55 | 0.36 | 0.12 | 0.33 | 0.1 | 0.6 | 0.21
0 | 1A | Single-Family Attached | 2018-01-05 06:00 | 682 | 165133.3507 | 417.1917 | 1153.7543 | 143.8258 | 27.8451 | 1178.9359 | 0 | 188.1358 | 777.4827 | 0 | 57259.8683 | 84.5037 | 91.5255 | 5825.1879 | 409.9278 | 0 | 1377.4833 | 81.356 | 8254.9726 | 0 | 53.0267 | 0 | 1978.9368 | 1897.8229 | 94.4311 | 0 | 81345.1244 | 0.73 | 0.61 | 0.49 | 0.23 | 0.44 | 0.1 | 0.6 | 0.21
0 | 1A | Single-Family Attached | 2018-01-05 06:15 | 682 | 165133.3507 | 521.0659 | 1414.2872 | 67.5546 | 24.6974 | 1166.103 | 6.2954 | 188.1358 | 797.5796 | 0 | 60151.8811 | 71.4286 | 77.7241 | 7075.3103 | 493.9473 | 0 | 2992.0129 | 116.465 | 8976.523 | 0 | 91.2834 | 0 | 1961.0191 | 1948.4283 | 137.5304 | 0 | 88389.4419 | 0.75 | 0.74 | 0.23 | 0.28 | 0.44 | 0.21 | 0.65 | 0.3
0 | 1A | Single-Family Attached | 2018-01-05 06:30 | 682 | 165133.3507 | 524.6979 | 1049.8801 | 56.4165 | 22.0339 | 1153.9964 | 53.7531 | 188.1358 | 803.6328 | 0 | 60650.9131 | 71.4286 | 77.7241 | 6846.4965 | 493.9473 | 0 | 3072.4004 | 116.465 | 8988.8717 | 0 | 91.2834 | 0 | 2777.9691 | 1948.4283 | 137.5304 | 0 | 89229.3944 | 0.75 | 0.72 | 0.19 | 0.21 | 0.62 | 0.22 | 0.65 | 0.3
0 | 1A | Single-Family Attached | 2018-01-05 06:45 | 682 | 165133.3507 | 554.48 | 579.9038 | 68.0388 | 22.2761 | 1153.5121 | 223.4869 | 188.1358 | 818.1607 | 0 | 61322.3424 | 71.4286 | 77.7241 | 6878.2157 | 493.9473 | 0 | 3572.6431 | 116.465 | 9260.7848 | 0 | 91.2834 | 0 | 3070.7055 | 1948.4283 | 137.5304 | 0 | 90751.43 | 0.75 | 0.72 | 0.23 | 0.11 | 0.69 | 0.26 | 0.67 | 0.3
0 | 1A | Single-Family Attached | 2018-01-05 07:00 | 682 | 165133.3507 | 545.7633 | 838.984 | 92.0098 | 23.2446 | 1155.9335 | 212.8332 | 188.1358 | 834.6256 | 0 | 62255.7575 | 71.4286 | 77.7241 | 7202.4291 | 493.9473 | 0 | 3411.626 | 116.465 | 9181.1237 | 0 | 91.2834 | 0 | 2588.3805 | 1948.4283 | 137.5304 | 0 | 91571.0434 | 0.75 | 0.76 | 0.32 | 0.16 | 0.58 | 0.24 | 0.67 | 0.3
0 | 1A | Single-Family Attached | 2018-01-05 07:15 | 682 | 165133.3507 | 622.2767 | 1981.8423 | 110.4117 | 13.5593 | 1116.9504 | 253.269 | 188.1358 | 873.8508 | 0 | 62276.0965 | 29.7821 | 32.9298 | 7585.9646 | 528.0877 | 0 | 4791.5306 | 114.2858 | 10198.074 | 0 | 154.7217 | 0 | 2738.7439 | 2107.7505 | 175.545 | 0 | 95959.4259 | 0.81 | 0.8 | 0.38 | 0.39 | 0.61 | 0.34 | 0.74 | 0.38
0 | 1A | Single-Family Attached | 2018-01-05 07:30 | 682 | 165133.3507 | 610.8965 | 2128.3316 | 89.1042 | 15.4964 | 1128.0884 | 404.1167 | 188.1358 | 857.3859 | 0 | 61986.2657 | 29.7821 | 32.9298 | 6883.3004 | 528.0877 | 0 | 4643.8307 | 114.2858 | 10090.3257 | 0 | 154.7217 | 0 | 2855.2089 | 2107.7505 | 175.545 | 0 | 95093.0811 | 0.81 | 0.72 | 0.31 | 0.42 | 0.64 | 0.33 | 0.73 | 0.38
0 | 1A | Single-Family Attached | 2018-01-05 07:45 | 682 | 165133.3507 | 607.5067 | 2662.4726 | 108.2326 | 15.2543 | 1125.4249 | 444.0683 | 188.1358 | 857.628 | 0 | 61994.9824 | 29.7821 | 32.9298 | 9262.2376 | 528.0877 | 0 | 4561.0219 | 114.2858 | 10100.2531 | 0 | 154.7217 | 0 | 2296.6127 | 2107.7505 | 175.545 | 0 | 97438.8464 | 0.81 | 0.97 | 0.37 | 0.52 | 0.51 | 0.33 | 0.73 | 0.38
0 | 1A | Single-Family Attached | 2018-01-05 08:00 | 682 | 165133.3507 | 598.5479 | 2630.7535 | 121.3076 | 19.8547 | 1140.9213 | 225.9082 | 188.1358 | 848.9113 | 0 | 60955.2718 | 29.7821 | 32.9298 | 7476.2793 | 528.0877 | 0 | 4454.7264 | 114.2858 | 10006.3062 | 0 | 154.7217 | 0 | 2379.6636 | 2107.7505 | 175.545 | 0 | 94258.2134 | 0.81 | 0.78 | 0.42 | 0.52 | 0.53 | 0.32 | 0.73 | 0.38
0 | 1A | Single-Family Attached | 2018-01-05 08:15 | 682 | 165133.3507 | 499.5163 | 3073.3689 | 79.6611 | 14.0436 | 1123.4879 | 281.8405 | 188.1358 | 833.4149 | 0 | 59668.1033 | 29.7821 | 32.9298 | 7261.9933 | 396.6106 | 0 | 5001.7003 | 89.8306 | 10269.5026 | 0 | 296.1262 | 0 | 2615.4992 | 2120.0991 | 175.545 | 0 | 94146.1068 | 0.82 | 0.76 | 0.27 | 0.6 | 0.58 | 0.36 | 0.75 | 0.38
0 | 1A | Single-Family Attached | 2018-01-05 08:30 | 682 | 165133.3507 | 497.095 | 3277.4854 | 76.0291 | 15.4964 | 1130.2676 | 149.8791 | 188.1358 | 767.5553 | 0 | 56223.7897 | 29.7821 | 32.9298 | 7030.274 | 396.6106 | 0 | 4800.2473 | 89.8306 | 10206.5486 | 0 | 296.1262 | 0 | 2878.6956 | 2120.0991 | 175.545 | 0 | 90474.9163 | 0.82 | 0.74 | 0.26 | 0.64 | 0.64 | 0.34 | 0.74 | 0.38
0 | 1A | Single-Family Attached | 2018-01-05 08:45 | 682 | 165133.3507 | 495.6422 | 3460.0522 | 78.9347 | 15.2543 | 1132.931 | 171.1866 | 188.1358 | 732.2042 | 0 | 53673.4237 | 29.7821 | 32.9298 | 7324.7053 | 396.6106 | 0 | 4633.6612 | 89.8306 | 10148.4371 | 0 | 296.1262 | 0 | 2392.7387 | 2120.0991 | 175.545 | 0 | 87680.2402 | 0.82 | 0.77 | 0.27 | 0.68 | 0.53 | 0.33 | 0.74 | 0.38
0 | 1A | Single-Family Attached | 2018-01-05 09:00 | 682 | 165133.3507 | 490.7996 | 2649.3975 | 136.3198 | 19.1284 | 1143.8269 | 449.8794 | 188.1358 | 674.3349 | 0 | 50467.8512 | 29.7821 | 32.9298 | 5386.9308 | 396.6106 | 0 | 4539.2301 | 89.8306 | 10060.5436 | 0 | 296.1262 | 0 | 1575.3044 | 2120.0991 | 175.545 | 0 | 81019.216 | 0.82 | 0.57 | 0.47 | 0.52 | 0.35 | 0.32 | 0.73 | 0.38
0 | 1A | Single-Family Attached | 2018-01-05 09:15 | 682 | 165133.3507 | 405.8116 | 2483.5378 | 195.6419 | 19.8547 | 1150.1223 | 511.1386 | 188.1358 | 641.8893 | 0 | 47876.8073 | 23.971 | 25.908 | 6242.6218 | 287.4095 | 0 | 4625.6709 | 64.8911 | 10086.9359 | 0 | 426.6348 | 0 | 1408.7182 | 2120.0991 | 170.2181 | 0 | 79030.8362 | 0.82 | 0.65 | 0.67 | 0.49 | 0.31 | 0.33 | 0.73 | 0.37
0 | 1A | Single-Family Attached | 2018-01-05 09:30 | 682 | 165133.3507 | 405.5694 | 2223.0048 | 147.4578 | 25.1816 | 549.3953 | 286.9253 | 188.1358 | 557.3856 | 0 | 43426.4393 | 23.971 | 25.908 | 7246.0127 | 287.4095 | 0 | 4554.0001 | 64.8911 | 10055.2167 | 0 | 426.6348 | 0 | 2129.3001 | 2120.0991 | 170.2181 | 0 | 74961.8245 | 0.82 | 0.76 | 0.51 | 0.44 | 0.48 | 0.33 | 0.73 | 0.37
0 | 1A | Single-Family Attached | 2018-01-05 09:45 | 682 | 165133.3507 | 404.1167 | 2748.4291 | 148.6684 | 30.7506 | 567.0708 | 246.4894 | 188.1358 | 514.7705 | 0 | 40409.2447 | 23.971 | 25.908 | 6719.862 | 287.4095 | 0 | 4487.1719 | 64.8911 | 10025.4346 | 0 | 426.6348 | 0 | 2510.8986 | 2120.0991 | 170.2181 | 0 | 72166.1798 | 0.82 | 0.7 | 0.51 | 0.54 | 0.56 | 0.32 | 0.73 | 0.37
0 | 1A | Single-Family Attached | 2018-01-05 10:00 | 682 | 165133.3507 | 403.8745 | 3488.1394 | 105.327 | 30.0242 | 561.7439 | 154.7217 | 188.1358 | 470.4606 | 0 | 37383.8177 | 23.971 | 25.908 | 6339.9584 | 287.4095 | 0 | 4443.1041 | 64.8911 | 10016.96 | 0 | 426.6348 | 0 | 2329.7846 | 2120.0991 | 170.2181 | 0 | 69078.7673 | 0.82 | 0.67 | 0.36 | 0.69 | 0.52 | 0.32 | 0.73 | 0.37
0 | 1A | Single-Family Attached | 2018-01-05 10:15 | 682 | 165133.3507 | 409.4435 | 3446.2507 | 182.8089 | 32.4456 | 568.7657 | 140.9202 | 188.1358 | 433.4145 | 0 | 36076.7945 | 18.6441 | 20.339 | 8136.8127 | 287.8938 | 0 | 4488.1405 | 74.8185 | 10113.8124 | 0 | 447.7002 | 0 | 1509.2026 | 2107.7505 | 175.545 | 0 | 68870.5346 | 0.81 | 0.85 | 0.63 | 0.68 | 0.34 | 0.32 | 0.73 | 0.38
0 | 1A | Single-Family Attached | 2018-01-05 10:30 | 682 | 165133.3507 | 409.2014 | 3181.6015 | 161.7435 | 38.741 | 595.6423 | 120.5812 | 188.1358 | 378.4508 | 0 | 32287.6863 | 18.6441 | 20.339 | 8453.0358 | 287.8938 | 0 | 4354.9684 | 74.8185 | 10100.7373 | 0 | 447.7002 | 0 | 1865.3773 | 2107.7505 | 175.545 | 0 | 65281.9109 | 0.81 | 0.89 | 0.56 | 0.63 | 0.42 | 0.31 | 0.73 | 0.38
0 | 1A | Single-Family Attached | 2018-01-05 10:45 | 682 | 165133.3507 | 407.7486 | 2423.7314 | 76.5134 | 45.5206 | 185.4724 | 72.155 | 188.1358 | 341.6469 | 0 | 29395.4313 | 18.6441 | 20.339 | 7437.7804 | 287.8938 | 0 | 4150.852 | 74.8185 | 10054.7324 | 0 | 447.7002 | 0 | 1853.755 | 2107.7505 | 175.545 | 0 | 59761.0816 | 0.81 | 0.78 | 0.26 | 0.48 | 0.41 | 0.3 | 0.73 | 0.38
0 | 1A | Single-Family Attached | 2018-01-05 11:00 | 682 | 165133.3507 | 406.538 | 2915.9838 | 93.9468 | 50.3633 | 207.2641 | 151.0898 | 188.1358 | 313.3175 | 0 | 26588.1644 | 18.6441 | 20.339 | 9356.1845 | 287.8938 | 0 | 4083.7817 | 74.8185 | 10008.4854 | 0 | 447.7002 | 0 | 1615.9824 | 2107.7505 | 175.545 | 0 | 59102.001 | 0.81 | 0.98 | 0.32 | 0.57 | 0.36 | 0.29 | 0.73 | 0.38
0 | 1A | Single-Family Attached | 2018-01-05 11:15 | 682 | 165133.3507 | 409.6857 | 2731.2378 | 115.9808 | 56.9008 | 241.1625 | 183.7774 | 188.1358 | 310.1698 | 0 | 25326.9039 | 17.9177 | 19.1284 | 7759.5726 | 293.947 | 0 | 3945.0406 | 85.2301 | 10133.425 | 0 | 426.6348 | 0 | 2176.5157 | 2107.7505 | 175.545 | 0 | 56701.0299 | 0.81 | 0.81 | 0.4 | 0.54 | 0.49 | 0.28 | 0.74 | 0.38
0 | 1A | Single-Family Attached | 2018-01-05 11:30 | 682 | 165133.3507 | 408.9593 | 3423.2483 | 157.6273 | 72.6393 | 310.1698 | 88.1357 | 188.1358 | 246.4894 | 0 | 21395.1806 | 17.9177 | 19.1284 | 7534.875 | 293.947 | 0 | 3902.9098 | 85.2301 | 10097.5896 | 0 | 426.6348 | 0 | 1894.6752 | 2107.7505 | 175.545 | 0 | 52847.9991 | 0.81 | 0.79 | 0.54 | 0.67 | 0.42 | 0.28 | 0.73 | 0.38
0 | 1A | Single-Family Attached | 2018-01-05 11:45 | 682 | 165133.3507 | 409.4435 | 3725.912 | 159.5643 | 99.5158 | 412.5912 | 103.1478 | 188.1358 | 209.4433 | 0 | 18445.7827 | 17.9177 | 19.1284 | 7005.0923 | 293.947 | 0 | 3946.4934 | 85.2301 | 10131.7301 | 0 | 426.6348 | 0 | 2296.3705 | 2107.7505 | 175.545 | 0 | 50260.1028 | 0.81 | 0.73 | 0.55 | 0.73 | 0.51 | 0.28 | 0.74 | 0.38
0 | 1A | Single-Family Attached | 2018-01-05 12:00 | 682 | 165133.3507 | 409.6857 | 3694.435 | 147.942 | 123.0026 | 513.5599 | 129.5401 | 188.1358 | 170.4602 | 0 | 15713.5763 | 17.9177 | 19.1284 | 7236.0853 | 293.947 | 0 | 3956.905 | 85.2301 | 10125.9189 | 0 | 426.6348 | 0 | 2246.9758 | 2107.7505 | 175.545 | 0 | 47784.3132 | 0.81 | 0.76 | 0.51 | 0.73 | 0.5 | 0.28 | 0.74 | 0.38
0 | 1A | Single-Family Attached | 2018-01-05 12:15 | 682 | 165133.3507 | 407.5065 | 3353.0303 | 176.7556 | 124.9396 | 511.1386 | 155.4481 | 215.0123 | 177.2399 | 0 | 15200.985 | 17.9177 | 19.1284 | 6813.8088 | 287.8938 | 0 | 3798.5513 | 87.8936 | 10159.8173 | 0 | 423.0029 | 0 | 1958.1135 | 2186.9273 | 170.2181 | 0 | 46233.7062 | 0.84 | 0.71 | 0.61 | 0.66 | 0.44 | 0.27 | 0.74 | 0.37
0 | 1A | Single-Family Attached | 2018-01-05 12:30 | 682 | 165133.3507 | 407.9908 | 3684.5076 | 144.5522 | 141.6466 | 583.0515 | 201.2109 | 215.0123 | 148.4263 | 0 | 13300.2565 | 17.9177 | 19.1284 | 6477.2467 | 287.8938 | 0 | 3866.1059 | 87.8936 | 10194.1999 | 0 | 423.0029 | 0 | 1965.3774 | 2186.9273 | 170.2181 | 0 | 44517.9659 | 0.84 | 0.68 | 0.5 | 0.72 | 0.44 | 0.28 | 0.74 | 0.37
0 | 1A | Single-Family Attached | 2018-01-05 12:45 | 682 | 165133.3507 | 407.0222 | 3662.958 | 91.5255 | 154.9638 | 633.1726 | 361.9859 | 215.0123 | 141.4045 | 0 | 12496.6237 | 17.9177 | 19.1284 | 6660.0556 | 287.8938 | 0 | 3790.561 | 87.8936 | 10145.5316 | 0 | 423.0029 | 0 | 1817.4354 | 2186.9273 | 170.2181 | 0 | 43764.6963 | 0.84 | 0.7 | 0.31 | 0.72 | 0.41 | 0.27 | 0.74 | 0.37
0 | 1A | Single-Family Attached | 2018-01-05 13:00 | 682 | 165133.3507 | 406.7801 | 2837.0491 | 75.5449 | 170.7024 | 707.5068 | 175.545 | 215.0123 | 125.4239 | 0 | 11261.5134 | 17.9177 | 19.1284 | 6161.9921 | 287.8938 | 0 | 3772.159 | 87.8936 | 10103.885 | 0 | 423.0029 | 0 | 1663.6822 | 2186.9273 | 170.2181 | 0 | 40866.6302 | 0.84 | 0.65 | 0.26 | 0.56 | 0.37 | 0.27 | 0.73 | 0.37
0 | 1A | Single-Family Attached | 2018-01-05 13:15 | 682 | 165133.3507 | 430.9932 | 2621.5525 | 158.5958 | 184.9881 | 778.4512 | 181.114 | 215.0123 | 107.9904 | 0 | 10642.8687 | 17.9177 | 19.1284 | 6237.2949 | 330.2667 | 0 | 3691.0452 | 71.6708 | 10054.006 | 0 | 316.7074 | 0 | 1344.0693 | 2186.9273 | 170.2181 | 0 | 39767.3554 | 0.84 | 0.65 | 0.54 | 0.52 | 0.3 | 0.26 | 0.73 | 0.37
0 | 1A | Single-Family Attached | 2018-01-05 13:30 | 682 | 165133.3507 | 431.4775 | 3039.9549 | 178.4506 | 193.4627 | 805.5699 | 191.0414 | 215.0123 | 95.1575 | 0 | 9157.3949 | 17.9177 | 19.1284 | 4852.0634 | 330.2667 | 0 | 3707.9943 | 71.6708 | 10057.3959 | 0 | 316.7074 | 0 | 1006.2965 | 2186.9273 | 170.2181 | 0 | 37041.2023 | 0.84 | 0.51 | 0.61 | 0.6 | 0.22 | 0.27 | 0.73 | 0.37
0 | 1A | Single-Family Attached | 2018-01-05 13:45 | 682 | 165133.3507 | 432.446 | 2472.884 | 176.0292 | 225.6661 | 943.5846 | 174.5765 | 215.0123 | 84.7459 | 0 | 8354.9727 | 17.9177 | 19.1284 | 4959.5695 | 330.2667 | 0 | 3718.8902 | 71.6708 | 10078.2191 | 0 | 316.7074 | 0 | 1017.9188 | 2186.9273 | 170.2181 | 0 | 35973.1624 | 0.84 | 0.52 | 0.6 | 0.49 | 0.23 | 0.27 | 0.73 | 0.37
0 | 1A | Single-Family Attached | 2018-01-05 14:00 | 682 | 165133.3507 | 430.9932 | 1819.3724 | 169.7338 | 249.8792 | 1040.1948 | 263.9228 | 215.0123 | 75.787 | 0 | 7520.105 | 17.9177 | 19.1284 | 6377.0045 | 330.2667 | 0 | 3747.4617 | 71.6708 | 10093.7155 | 0 | 316.7074 | 0 | 1015.0132 | 2186.9273 | 170.2181 | 0 | 36133.9374 | 0.84 | 0.67 | 0.58 | 0.36 | 0.23 | 0.27 | 0.73 | 0.37
0 | 1A | Single-Family Attached | 2018-01-05 14:15 | 682 | 165133.3507 | 442.8576 | 2197.0968 | 175.0607 | 292.7364 | 1235.8367 | 122.5183 | 215.0123 | 72.3972 | 0 | 6957.8768 | 29.7821 | 32.9298 | 5632.2095 | 353.2691 | 0 | 3725.1856 | 72.3972 | 10017.4443 | 0 | 264.8913 | 0 | 820.3399 | 2186.9273 | 170.2181 | 0 | 35036.8418 | 0.84 | 0.59 | 0.6 | 0.43 | 0.18 | 0.27 | 0.73 | 0.37
0 | 1A | Single-Family Attached | 2018-01-05 14:30 | 682 | 165133.3507 | 444.5525 | 2788.3807 | 152.7847 | 334.1408 | 1417.1928 | 176.7556 | 215.0123 | 57.6272 | 0 | 5758.3597 | 29.7821 | 32.9298 | 6915.2617 | 353.2691 | 0 | 3720.8273 | 72.3972 | 10009.6961 | 0 | 264.8913 | 0 | 815.013 | 2186.9273 | 170.2181 | 0 | 35938.2956 | 0.84 | 0.73 | 0.52 | 0.55 | 0.18 | 0.27 | 0.73 | 0.37
0 | 1A | Single-Family Attached | 2018-01-05 14:45 | 682 | 165133.3507 | 446.9738 | 2628.3321 | 144.7943 | 367.5549 | 1573.6095 | 161.0171 | 215.0123 | 54.2373 | 0 | 5258.3592 | 29.7821 | 32.9298 | 5926.1565 | 353.2691 | 0 | 3778.9387 | 72.3972 | 9991.2941 | 0 | 264.8913 | 0 | 935.3521 | 2186.9273 | 170.2181 | 0 | 34612.8704 | 0.84 | 0.62 | 0.5 | 0.52 | 0.21 | 0.27 | 0.73 | 0.37
0 | 1A | Single-Family Attached | 2018-01-05 15:00 | 682 | 165133.3507 | 445.7632 | 2920.8264 | 175.0607 | 401.9375 | 1727.3626 | 79.9032 | 215.0123 | 46.4892 | 0 | 4628.0922 | 29.7821 | 32.9298 | 5266.8338 | 353.2691 | 0 | 3753.515 | 72.3972 | 9996.1367 | 0 | 264.8913 | 0 | 1264.8924 | 2186.9273 | 170.2181 | 0 | 34053.0635 | 0.84 | 0.55 | 0.6 | 0.57 | 0.28 | 0.27 | 0.73 | 0.37
0 | 1A | Single-Family Attached | 2018-01-05 15:15 | 682 | 165133.3507 | 466.1022 | 2927.6061 | 132.9299 | 437.7729 | 1902.4234 | 59.08 | 188.1358 | 41.1623 | 0 | 4298.5519 | 73.3657 | 78.9347 | 6295.1642 | 362.4701 | 0 | 3943.8299 | 79.1768 | 10282.0935 | 0 | 215.0123 | 0 | 1193.4638 | 2120.0991 | 175.545 | 0 | 35322.7985 | 0.82 | 0.66 | 0.46 | 0.58 | 0.27 | 0.28 | 0.75 | 0.38
0 | 1A | Single-Family Attached | 2018-01-05 15:30 | 682 | 165133.3507 | 469.7342 | 2607.5089 | 197.821 | 461.986 | 2024.6995 | 101.9372 | 188.1358 | 40.4359 | 0 | 3896.8565 | 73.3657 | 78.9347 | 5367.3182 | 362.4701 | 0 | 4129.7866 | 79.1768 | 10367.8078 | 0 | 215.0123 | 0 | 1340.9215 | 2120.0991 | 175.545 | 0 | 34349.674 | 0.82 | 0.56 | 0.68 | 0.51 | 0.3 | 0.3 | 0.75 | 0.38
0 | 1A | Single-Family Attached | 2018-01-05 15:45 | 682 | 165133.3507 | 473.8504 | 3538.9869 | 148.4263 | 488.8625 | 2132.69 | 51.0896 | 188.1358 | 37.046 | 0 | 3702.6674 | 73.3657 | 78.9347 | 5165.3809 | 362.4701 | 0 | 4172.4016 | 79.1768 | 10445.0476 | 0 | 215.0123 | 0 | 1819.1303 | 2120.0991 | 175.545 | 0 | 35515.5348 | 0.82 | 0.54 | 0.51 | 0.7 | 0.41 | 0.3 | 0.76 | 0.38
0 | 1A | Single-Family Attached | 2018-01-05 16:00 | 682 | 165133.3507 | 481.3565 | 4041.6509 | 143.8258 | 497.5792 | 2160.2929 | 61.017 | 188.1358 | 34.6247 | 0 | 3667.5584 | 73.3657 | 78.9347 | 5833.9046 | 362.4701 | 0 | 4253.2734 | 79.1768 | 10562.9654 | 0 | 215.0123 | 0 | 1865.3773 | 2120.0991 | 175.545 | 0 | 36948.224 | 0.82 | 0.61 | 0.49 | 0.79 | 0.42 | 0.3 | 0.77 | 0.38
0 | 1A | Single-Family Attached | 2018-01-05 16:15 | 682 | 165133.3507 | 542.3735 | 4359.811 | 115.9808 | 509.2015 | 2208.9612 | 69.4916 | 215.0123 | 45.2785 | 0 | 4607.511 | 158.5958 | 172.1551 | 6760.0557 | 443.584 | 0 | 4905.8164 | 144.3101 | 11046.2589 | 0 | 130.5086 | 0 | 2258.1138 | 2311.3826 | 239.9518 | 0 | 41246.0495 | 0.89 | 0.71 | 0.4 | 0.86 | 0.5 | 0.35 | 0.8 | 0.52
0 | 1A | Single-Family Attached | 2018-01-05 16:30 | 682 | 165133.3507 | 545.279 | 3428.8173 | 91.2834 | 501.9376 | 2165.6198 | 112.1067 | 215.0123 | 35.8354 | 0 | 4288.6245 | 158.5958 | 172.1551 | 5539.2312 | 443.584 | 0 | 5067.56 | 144.3101 | 11179.6731 | 0 | 130.5086 | 0 | 2922.2792 | 2311.3826 | 239.9518 | 0 | 39690.5999 | 0.89 | 0.58 | 0.31 | 0.67 | 0.65 | 0.36 | 0.81 | 0.52
0 | 1A | Single-Family Attached | 2018-01-05 16:45 | 682 | 165133.3507 | 552.3008 | 3676.033 | 99.2737 | 480.1458 | 2058.84 | 196.3683 | 215.0123 | 37.046 | 0 | 4496.8572 | 158.5958 | 172.1551 | 7443.5916 | 443.584 | 0 | 5088.8675 | 144.3101 | 11272.1672 | 0 | 130.5086 | 0 | 2780.6325 | 2311.3826 | 239.9518 | 0 | 41995.2029 | 0.89 | 0.78 | 0.34 | 0.72 | 0.62 | 0.36 | 0.82 | 0.52
0 | 1A | Single-Family Attached | 2018-01-05 17:00 | 682 | 165133.3507 | 562.4703 | 3728.5755 | 140.1939 | 454.9642 | 1945.2806 | 307.5064 | 215.0123 | 36.5618 | 0 | 4493.9516 | 158.5958 | 172.1551 | 6644.8014 | 443.584 | 0 | 5225.1873 | 144.3101 | 11404.855 | 0 | 130.5086 | 0 | 3210.8994 | 2311.3826 | 239.9518 | 0 | 41974.1375 | 0.89 | 0.7 | 0.48 | 0.73 | 0.72 | 0.37 | 0.83 | 0.52
0 | 1A | Single-Family Attached | 2018-01-05 17:15 | 682 | 165133.3507 | 699.2744 | 2824.4583 | 174.0922 | 474.8189 | 2075.7892 | 283.2933 | 241.8889 | 43.5836 | 0 | 4773.1287 | 153.2689 | 166.8283 | 6702.9128 | 591.5261 | 0 | 6689.8378 | 238.7412 | 12233.6694 | 0 | 80.8718 | 0 | 3562.4736 | 2520.826 | 302.4216 | 0 | 44854.528 | 0.97 | 0.7 | 0.6 | 0.56 | 0.8 | 0.48 | 0.89 | 0.66
0 | 1A | Single-Family Attached | 2018-01-05 17:30 | 682 | 165133.3507 | 726.6352 | 2358.1139 | 142.373 | 399.5162 | 1700.244 | 340.1941 | 241.8889 | 47.2155 | 0 | 5220.8289 | 153.2689 | 166.8283 | 8096.8611 | 591.5261 | 0 | 7015.7461 | 238.7412 | 12515.5099 | 0 | 80.8718 | 0 | 4016.7114 | 2520.826 | 302.4216 | 0 | 46893.9975 | 0.97 | 0.85 | 0.49 | 0.46 | 0.9 | 0.5 | 0.91 | 0.66
0 | 1A | Single-Family Attached | 2018-01-05 17:45 | 682 | 165133.3507 | 739.4681 | 2485.9591 | 98.5473 | 352.5428 | 1519.13 | 542.8577 | 241.8889 | 58.5957 | 0 | 6124.4618 | 153.2689 | 166.8283 | 8357.8783 | 591.5261 | 0 | 7213.0829 | 238.7412 | 12731.4908 | 0 | 80.8718 | 0 | 4155.9367 | 2520.826 | 302.4216 | 0 | 48695.4522 | 0.97 | 0.88 | 0.34 | 0.49 | 0.93 | 0.52 | 0.92 | 0.66
0 | 1A | Single-Family Attached | 2018-01-05 18:00 | 682 | 165133.3507 | 755.2066 | 2961.7465 | 100.7265 | 304.1166 | 1304.6019 | 632.2041 | 241.8889 | 68.5231 | 0 | 7093.228 | 153.2689 | 166.8283 | 7963.2047 | 591.5261 | 0 | 7488.628 | 238.7412 | 12870.474 | 0 | 80.8718 | 0 | 4252.0627 | 2520.826 | 302.4216 | 0 | 50117.4877 | 0.97 | 0.84 | 0.35 | 0.58 | 0.95 | 0.54 | 0.93 | 0.66
0 | 1A | Single-Family Attached | 2018-01-05 18:15 | 682 | 165133.3507 | 886.4416 | 3226.88 | 111.1381 | 302.1795 | 1283.2944 | 614.2864 | 241.8889 | 84.988 | 0 | 8026.1588 | 84.988 | 92.9783 | 8133.665 | 720.824 | 0 | 9983.0617 | 201.2109 | 13142.6292 | 0 | 46.247 | 0 | 4145.0408 | 2591.044 | 349.1529 | 0 | 54316.2816 | 1 | 0.85 | 0.38 | 0.63 | 0.93 | 0.71 | 0.95 | 0.76
0 | 1A | Single-Family Attached | 2018-01-05 18:30 | 682 | 165133.3507 | 908.4756 | 2588.6227 | 57.8693 | 277.7243 | 1187.6526 | 729.0565 | 241.8889 | 88.62 | 0 | 8761.5107 | 84.988 | 92.9783 | 7870.4686 | 720.824 | 0 | 10242.384 | 201.2109 | 13336.5762 | 0 | 46.247 | 0 | 4307.7528 | 2591.044 | 349.1529 | 0 | 54727.6621 | 1 | 0.83 | 0.2 | 0.51 | 0.96 | 0.73 | 0.97 | 0.76
0 | 1A | Single-Family Attached | 2018-01-05 18:45 | 682 | 165133.3507 | 925.909 | 2234.385 | 83.0509 | 267.3126 | 1138.0158 | 885.4731 | 241.8889 | 96.126 | 0 | 9642.6255 | 84.988 | 92.9783 | 9532.2137 | 720.824 | 0 | 10598.3166 | 201.2109 | 13568.5377 | 0 | 46.247 | 0 | 4473.3705 | 2591.044 | 349.1529 | 0 | 57816.2853 | 1 | 1 | 0.29 | 0.44 | 1 | 0.76 | 0.99 | 0.76
0 | 1A | Single-Family Attached | 2018-01-05 19:00 | 682 | 165133.3507 | 953.9962 | 1947.2176 | 200.2423 | 247.7 | 1051.575 | 780.8725 | 241.8889 | 107.9904 | 0 | 10716.7186 | 84.988 | 92.9783 | 8080.8804 | 720.824 | 0 | 10926.8883 | 201.2109 | 13765.6323 | 0 | 46.247 | 0 | 4454 | 2591.044 | 349.1529 | 0 | 57602.4837 | 1 | 0.85 | 0.69 | 0.38 | 1 | 0.78 | 1 | 0.76
0 | 1A | Single-Family Attached | 2018-01-05 19:15 | 682 | 165133.3507 | 1016.2239 | 2470.7049 | 269.7339 | 282.0826 | 1239.4687 | 585.9571 | 241.8889 | 120.8234 | 0 | 11689.8432 | 76.5134 | 83.5352 | 8367.8057 | 775.5456 | 0 | 13237.0603 | 154.4796 | 13172.6535 | 0 | 28.3293 | 0 | 3669.4955 | 2520.826 | 404.6009 | 0 | 60392.0751 | 0.97 | 0.88 | 0.93 | 0.49 | 0.82 | 0.95 | 0.96 | 0.88
0 | 1A | Single-Family Attached | 2018-01-05 19:30 | 682 | 165133.3507 | 1031.4781 | 3404.6042 | 291.2836 | 250.3635 | 1067.0714 | 591.7682 | 241.8889 | 127.8452 | 0 | 12478.4639 | 76.5134 | 83.5352 | 6703.3971 | 775.5456 | 0 | 13494.4456 | 154.4796 | 13290.8134 | 0 | 28.3293 | 0 | 2925.669 | 2520.826 | 404.6009 | 0 | 59927.4256 | 0.97 | 0.7 | 1 | 0.67 | 0.65 | 0.97 | 0.97 | 0.88
0 | 1A | Single-Family Attached | 2018-01-05 19:45 | 682 | 165133.3507 | 1044.5532 | 4246.978 | 230.5087 | 255.4482 | 1095.885 | 692.979 | 241.8889 | 138.4989 | 0 | 13455.7046 | 76.5134 | 83.5352 | 8420.5902 | 775.5456 | 0 | 13825.4387 | 154.4796 | 13346.7457 | 0 | 28.3293 | 0 | 2245.0388 | 2520.826 | 404.6009 | 0 | 63265.4438 | 0.97 | 0.88 | 0.79 | 0.84 | 0.5 | 0.99 | 0.97 | 0.88
0 | 1A | Single-Family Attached | 2018-01-05 20:00 | 682 | 165133.3507 | 1051.3329 | 3894.6773 | 171.1866 | 239.2254 | 1021.0665 | 506.2959 | 241.8889 | 148.4263 | 0 | 14186.6982 | 76.5134 | 83.5352 | 7242.865 | 775.5456 | 0 | 13978.9498 | 154.4796 | 13423.9855 | 0 | 28.3293 | 0 | 1694.1907 | 2520.826 | 404.6009 | 0 | 61822.343 | 0.97 | 0.76 | 0.59 | 0.77 | 0.38 | 1 | 0.98 | 0.88
0 | 1A | Single-Family Attached | 2018-01-05 20:15 | 682 | 165133.3507 | 1101.6961 | 2851.8191 | 113.5594 | 251.0899 | 1062.9551 | 500.2427 | 241.8889 | 159.8065 | 0 | 15503.4066 | 64.1647 | 69.0073 | 7007.0294 | 823.4876 | 0 | 13579.1915 | 106.0534 | 12666.8418 | 0 | 14.0436 | 0 | 2031.2371 | 2503.1504 | 429.0562 | 0 | 61025.2477 | 0.97 | 0.74 | 0.39 | 0.56 | 0.45 | 0.97 | 0.92 | 0.94
0 | 1A | Single-Family Attached | 2018-01-05 20:30 | 682 | 165133.3507 | 1112.592 | 3215.742 | 76.9977 | 217.4336 | 921.3085 | 461.2596 | 241.8889 | 174.8186 | 0 | 16735.3692 | 64.1647 | 69.0073 | 9532.9401 | 823.4876 | 0 | 13786.6977 | 106.0534 | 12681.1275 | 0 | 14.0436 | 0 | 1655.6919 | 2503.1504 | 429.0562 | 0 | 64771.4987 | 0.97 | 1 | 0.26 | 0.63 | 0.37 | 0.99 | 0.92 | 0.94
0 | 1A | Single-Family Attached | 2018-01-05 20:45 | 682 | 165133.3507 | 1100.4855 | 5085.4777 | 113.3173 | 206.5378 | 866.3448 | 585.4728 | 241.8889 | 195.884 | 0 | 18409.7052 | 64.1647 | 69.0073 | 8953.7627 | 823.4876 | 0 | 13791.2982 | 106.0534 | 12657.8829 | 0 | 14.0436 | 0 | 1209.4444 | 2503.1504 | 429.0562 | 0 | 67372.9543 | 0.97 | 0.94 | 0.39 | 1 | 0.27 | 0.99 | 0.92 | 0.94
0 | 1A | Single-Family Attached | 2018-01-05 21:00 | 682 | 165133.3507 | 1100.0012 | 4922.0392 | 76.7555 | 191.2835 | 795.4004 | 595.158 | 241.8889 | 214.0438 | 0 | 19624.2343 | 64.1647 | 69.0073 | 8259.331 | 823.4876 | 0 | 13846.9884 | 106.0534 | 12696.6239 | 0 | 14.0436 | 0 | 1349.8804 | 2503.1504 | 429.0562 | 0 | 67868.5965 | 0.97 | 0.87 | 0.26 | 0.97 | 0.3 | 0.99 | 0.92 | 0.94
0 | 1A | Single-Family Attached | 2018-01-05 21:15 | 682 | 165133.3507 | 1015.4975 | 4047.2199 | 98.7895 | 192.252 | 807.9912 | 392.9786 | 215.0123 | 231.2351 | 0 | 19782.1037 | 53.511 | 58.5957 | 8767.564 | 783.0517 | 0 | 10452.0694 | 82.8088 | 11963.6933 | 0 | 10.6538 | 0 | 1210.4129 | 2396.8549 | 458.8383 | 0 | 63063.2644 | 0.93 | 0.92 | 0.34 | 0.8 | 0.27 | 0.75 | 0.87 | 1
0 | 1A | Single-Family Attached | 2018-01-05 21:30 | 682 | 165133.3507 | 1005.0858 | 3739.2292 | 120.8234 | 159.3222 | 662.9547 | 331.2352 | 215.0123 | 240.4361 | 0 | 20791.7901 | 53.511 | 58.5957 | 8752.5518 | 783.0517 | 0 | 10316.7182 | 82.8088 | 11899.2865 | 0 | 10.6538 | 0 | 837.289 | 2396.8549 | 458.8383 | 0 | 62956.7268 | 0.93 | 0.92 | 0.41 | 0.74 | 0.19 | 0.74 | 0.86 | 1
0 | 1A | Single-Family Attached | 2018-01-05 21:45 | 682 | 165133.3507 | 964.1657 | 1725.6677 | 30.0242 | 153.9953 | 641.4051 | 256.901 | 215.0123 | 253.269 | 0 | 21723.0259 | 53.511 | 58.5957 | 8682.576 | 783.0517 | 0 | 9789.8411 | 82.8088 | 11651.5865 | 0 | 10.6538 | 0 | 930.7516 | 2396.8549 | 458.8383 | 0 | 60898.6131 | 0.93 | 0.91 | 0.1 | 0.34 | 0.21 | 0.7 | 0.85 | 1
0 | 1A | Single-Family Attached | 2018-01-05 22:00 | 682 | 165133.3507 | 935.11 | 1564.4085 | 42.6151 | 139.4675 | 567.5551 | 201.2109 | 215.0123 | 267.0705 | 0 | 22864.4315 | 53.511 | 58.5957 | 8755.6996 | 783.0517 | 0 | 9373.3758 | 82.8088 | 11492.7485 | 0 | 10.6538 | 0 | 744.5529 | 2396.8549 | 458.8383 | 0 | 61044.1339 | 0.93 | 0.92 | 0.15 | 0.31 | 0.17 | 0.67 | 0.83 | 1
0 | 1A | Single-Family Attached | 2018-01-05 22:15 | 682 | 165133.3507 | 752.0589 | 1462.9556 | 81.8403 | 155.206 | 617.192 | 175.0607 | 215.0123 | 274.0923 | 0 | 23742.1564 | 29.7821 | 32.9298 | 8115.263 | 669.4923 | 0 | 5198.5528 | 84.2616 | 10060.5436 | 0 | 10.6538 | 0 | 659.5649 | 2311.3826 | 396.3685 | 0 | 55047.7594 | 0.89 | 0.85 | 0.28 | 0.29 | 0.15 | 0.37 | 0.73 | 0.86
0 | 1A | Single-Family Attached | 2018-01-05 22:30 | 682 | 165133.3507 | 736.8047 | 912.1075 | 56.4165 | 109.4432 | 429.7825 | 143.5837 | 215.0123 | 279.9035 | 0 | 24615.0387 | 29.7821 | 32.9298 | 7528.3374 | 669.4923 | 0 | 5116.9547 | 84.2616 | 9922.0446 | 0 | 10.6538 | 0 | 611.6229 | 2311.3826 | 396.3685 | 0 | 54214.3444 | 0.89 | 0.79 | 0.19 | 0.18 | 0.14 | 0.37 | 0.72 | 0.86
0 | 1A | Single-Family Attached | 2018-01-05 22:45 | 682 | 165133.3507 | 666.5867 | 1041.8897 | 60.0485 | 99.2737 | 386.4411 | 149.1527 | 215.0123 | 289.8308 | 0 | 25413.1026 | 29.7821 | 32.9298 | 7500.4924 | 669.4923 | 0 | 4354.9684 | 84.2616 | 9516.2331 | 0 | 10.6538 | 0 | 546.974 | 2311.3826 | 396.3685 | 0 | 53782.3827 | 0.89 | 0.79 | 0.21 | 0.2 | 0.12 | 0.31 | 0.69 | 0.86
0 | 1A | Single-Family Attached | 2018-01-05 23:00 | 682 | 165133.3507 | 632.6883 | 1165.1344 | 60.2906 | 87.8936 | 342.8575 | 128.5716 | 215.0123 | 302.6638 | 0 | 26439.9802 | 29.7821 | 32.9298 | 6570.225 | 669.4923 | 0 | 3983.2973 | 84.2616 | 9333.182 | 0 | 10.6538 | 0 | 488.6204 | 2311.3826 | 396.3685 | 0 | 53291.8253 | 0.89 | 0.69 | 0.21 | 0.23 | 0.11 | 0.28 | 0.68 | 0.86
0 | 1A | Single-Family Attached | 2018-01-05 23:15 | 682 | 165133.3507 | 520.8238 | 1533.1736 | 24.6974 | 95.1575 | 366.3442 | 61.017 | 188.1358 | 303.6323 | 0 | 26841.4334 | 29.7821 | 32.9298 | 7107.5137 | 581.1144 | 0 | 2090.0749 | 77.2398 | 8689.3557 | 0 | 10.6538 | 0 | 467.0707 | 2120.0991 | 344.7946 | 0 | 51528.8693 | 0.82 | 0.75 | 0.08 | 0.3 | 0.1 | 0.15 | 0.63 | 0.75
0 | 1A | Single-Family Attached | 2018-01-05 23:30 | 682 | 165133.3507 | 508.7173 | 1397.5802 | 47.4577 | 76.5134 | 291.2836 | 68.7652 | 188.1358 | 322.2764 | 0 | 28208.263 | 29.7821 | 32.9298 | 5282.5723 | 581.1144 | 0 | 2037.7746 | 77.2398 | 8648.6776 | 0 | 10.6538 | 0 | 555.2064 | 2120.0991 | 344.7946 | 0 | 50879.7161 | 0.82 | 0.55 | 0.16 | 0.27 | 0.12 | 0.15 | 0.63 | 0.75
0 | 1A | Single-Family Attached | 2018-01-05 23:45 | 682 | 165133.3507 | 473.8504 | 851.8169 | 20.0969 | 75.5449 | 290.073 | 119.1285 | 188.1358 | 340.1941 | 0 | 29531.9932 | 29.7821 | 32.9298 | 5690.8052 | 581.1144 | 0 | 1784.5056 | 77.2398 | 8466.353 | 0 | 10.6538 | 0 | 467.3129 | 2120.0991 | 344.7946 | 0 | 51547.0292 | 0.82 | 0.6 | 0.07 | 0.17 | 0.1 | 0.13 | 0.62 | 0.75
0 | 1A | Single-Family Attached | 2018-01-06 | 682 | 165133.3507 | 458.5961 | 630.7513 | 14.0436 | 65.1332 | 245.763 | 97.5788 | 188.1358 | 360.2909 | 0 | 31013.1086 | 29.7821 | 32.9298 | 4819.8599 | 581.1144 | 0 | 1718.6459 | 77.2398 | 8395.8929 | 0 | 10.6538 | 0 | 656.6593 | 2120.0991 | 344.7946 | 0 | 51912.647 | 0.82 | 0.51 | 0.05 | 0.12 | 0.15 | 0.12 | 0.61 | 0.75